| Name of Children’s Home |  | Date completed |  |
| --- | --- | --- | --- |
| Completed by |  | Role/Designation |  |

| Sources of ignition | YES | NO |
| --- | --- | --- |
| Are all electrical supply points operating within safe limits (i.e. none are overloaded)? |  |  |
| Are all cables protected? |  |  |
| Are all cables, plugs etc, undamaged? |  |  |
| Are hot processes tightly controlled? |  |  |

| Sources of fuel | YES | NO |
| --- | --- | --- |
| Are waste paper baskets and bins emptied daily? |  |  |
| Is there any large build up of debris? |  |  |
| Are lids etc replaced on flammable substances when not being used? |  |  |
| Is the use of flammable substances kept to an absolute minimum? |  |  |
| Are flammables being correctly stored and used? |  |  |
| Are external bins clear of buildings and other assets? |  |  |

| Extinguishers | YES | NO |
| --- | --- | --- |
| Are all fire extinguishers in position? |  |  |
| Are all pins and seals intact? |  |  |
| Are all fire extinguishers ready for use? |  |  |
| Are clear procedures in place for the use of these extinguishers? |  |  |
| If water extinguishers are fitted with a pressure gauge is the needle pointing in the green zone? |  |  |

| Fire action notices | YES | NO |
| --- | --- | --- |
| Are sufficient Fire Action notices, Fire Warden Notices and General Fire Notices, (blue on white) prominently displayed? |  |  |
| Are these notices legible? |  |  |

| Fire alarm system | YES | NO |
| --- | --- | --- |
| Are all operating points (i.e., break glass units) of the fire warning system unobstructed? |  |  |
| Are all operating points ready for use? |  |  |
| Has the system been tested and has the test been recorded in the fire safety log? |  |  |

| Escape routes | YES | NO |
| --- | --- | --- |
| Are all means of escape clear and available? |  |  |
| Are all means of escape clearly indicated? (pictorial signs) |  |  |
| Do the door devices on all means of escape operate satisfactory? |  |  |
| Are all external routes clear? |  |  |

| Control measures | YES | NO |
| --- | --- | --- |
| Are appropriate No-Smoking signs available as required? |  |  |
| Are suitable fire safety control processes in place? |  |  |

| Other comments |
| --- |
| Signature Date |  | Date |  |